Western Resource Adequacy Program

Change Request Form

| Lead Sponsor Information |  |
| --- | --- |
| Names: Quinn McCarthy Joe Stimatz | Organization: NorthWestern Energy |
| Title: Lead Electric Transmission Analyst (Quinn) Director of Marketing Operations (Joe) | Phone Number: 406-497-3488 (Quinn) 406-497-3337 (Joe) |
| Email: Quinn.McCarthy@northwestern.com Joe.Stimatz@northwestern.com | Date of Submission: 12/12/2025 |

| Co-Sponsors Information (optional) |  |
| --- | --- |
| Name: | Organization: |
| Phone Number: | Email: |
| Name: | Organization: |
| Phone Number: | Email: |
| Name: | Organization: |
| Phone Number: | Email: |

Type of Change Requested

Check one*: ☐; Correction (i.e., revising erroneous language or language that needs clean-up for grammatical errors or inconsistency across governing documents - no changes to intent or policy). ☐; Clarification (i.e., revising language to better represent existing intent, no changes to functionality or policy). ☐; Enhancement (i.e., revising language to expand upon existing intent or functionality). ☐; New Protocol, Business Practice, Criteria, Tariff (i.e., new language to accommodate new functionality or policy not existing today). ☐; Change (i.e., a change in the existing policy – will replace an existing language). ☒; Other (i.e., changes that do not fall into the categories listed above).

Description of Change

Provide a description of the issue*:

NorthWestern Energy and others, including other WRAP members, are exploring the opportunity to invest in Grid United’s proposed North Plains Connector (NPC) 3,000 MW regional electric transmission project. The NPC Project would connect the Pacific Northwest MID-C market with the MISO RTO and SPP RTO. The estimated NPC Project commercial operations date is in 2032. NorthWestern would like to understand how the NPC Project would impact PRM requirements in the WRAP.

Please provide the following information if known and/or available.

- Provide a proposed solution to the issue described:

NorthWestern proposes that a task force be formed to consider how NPC and possibly other interregional transmission can be modeled and considered by WRAP. The scope would include consideration of modeling assumptions of non-firm imports on NPC and/or other lines and/or similar assessments or modeling treatment.

- Provide the specific document and language you would like changed:

None

- Provide a suggestion for how language could be updated to address issue:

None

Impact of Change

Describe the benefits that will be realized from this change*:

Additional regional transmission interchange into the WRAP footprint is beneficial to all WRAP participants in that: - It can facilitate capacity transfers that would otherwise not exist. - New interregional transmission may likely result in lower PRMs in a WRAP region because new interchange import capacity will allow a LRZ to utilize capacity outside the LRZ. For example, WRAP members benefit from the CAISO capacity that is imported during CCH into the WRAP footprint, which results in lower PRMs than would otherwise be possible. Likewise, WRAP members may very well benefit from SPP RTO and MISO RTO capacity that could be imported into the WRAP footprint during CCH using the NPC Project transmission capacity.

Please provide the following information if known and/or available.

- Any data/information available that would characterize the importance or magnitude of the issue (allows for file attachments):

If even a small reduction in a region’s PRMs can be made, due to new interchange capacity made available from a regional transmission project, that change can result in material capacity compliance savings for the region.

Non-Task Force Proposal Request (optional)

A flag as a Non-Task Force Proposal indicates the Concept could be implemented without requiring further development into a Proposal by a Task Force. Please check the box below if you would like this to be considered as a Non-Task Force Proposal

☐ I would like this to be flagged as a Non-Task Force Proposal