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Western Resource Adequacy Program 
Change Request Form


	 Lead Sponsor Information

	Name: Michael Reynolds
	Organization: Salt River Project

	Title: Senior Manager Market Operations Strategy 
	Phone Number: (602) 236-6802

	Email: michael.reynolds@srpnet.com
	Date of Submission: 12/13/24

	Co-Sponsors Information (optional)

	Name:
	Organization:

	Phone Number:
	Email:

	Name:
	Organization:

	Phone Number:
	Email:

	Name:
	Organization:

	Phone Number:
	Email:

	Type of Change Requested 

	Check one:
Correction (i.e., revising erroneous language or language that needs clean-up for grammatical errors or inconsistency across governing documents - no changes to intent or policy)xx

Clarification (i.e., revising language to better represent existing intent, no changes to functionality or policy)
Enhancement (i.e., revising language to expand upon existing intent or functionality)
New Protocol, Business Practice, Criteria, Tariff (i.e., new language to accommodate new functionality or policy not existing today)
Change (i.e., a change in the existing policy – will replace an existing language)
Other (i.e., changes that do not fall into the categories listed above)


	Description of Change

	Provide a description of the issue:
The capacity testing requirements outlined in BPM 105 require that thermal resources perform summer capability tests during the summer season under specific temperature conditions. SRP typically conducts tests in off-seasons periods (spring or winter) to avoid operational disruptions during peak demand. This requirement risks penalties for off-season testing and reduces QCC values.



	Please provide the following information if known and/or available.
1. Provide a proposed solution to the issue described:
· Permit historical operational data to meet requirements when summer season testing is not feasible. In the event, historical operational data is unavailable, allow off-season test results if adjusted for summer conditions.

2. Provide the specific document and language you would like changed:
· BPM 105
· 3.4.2.1 Capability Test Requirements for Thermal Resources:
· Summer Capability Tests are to be conducted during a time when the ambient dry-bulb temperature is no more than 10 degrees Fahrenheit below the station ASHRAE Rated Ambient Temperature.

3. Provide a suggestion for how language could be updated to address issue:
· Historical operational data may be submitted to meet summer testing requirements when summer season testing is not feasible. If historical data is unavailable, off-season Capability Tests may be used with adjustments for summer conditions. Penalties for deviations in dry-bulb temperature requirements will not apply if adjustments are applied to align off-season test results with expected summer conditions. 


	Impact of Change

	Please provide the following information if know and/or available.
1. Any data/information available that would characterize the importance or magnitude of the issue (allows for file attachments):
· N/A

2. Describe the benefits that will be realized from this change:
· Aligns testing requirement with practical operational practices, allowing compliance without disrupting critical summer operations. It also minimizes penalties while ensuring reliable QCC calculations are maintained.


	Non-Task Force Proposal Request

	A flag as a Non-Task Force Proposal indicates the Concept could be implemented without requiring further development into a Proposal by a Task Force. Please check the box below if you would like this to be considered as a Non-Task Force Proposal
I would like this to be flagged as a Non-Task Force Proposal
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