| Forward Showing Year | Binding Season | Month | PRM | P50 Load | Monthly Deficiency |
| --- | --- | --- | --- | --- | --- |
| FS Year 2027-2028 | Summer | Jun | 17.7% | 100 | 8 |
|  |  | Jul | 10.5% | 100 | 22 |
|  |  | Aug | 11.2% | 100 | 21 |
|  |  | Sep | 18.6% | 100 | 15 |
|  | Winter | Nov | 19.3% | 100 | 10 |
|  |  | Dec | 17.0% | 100 | 10 |
|  |  | Jan | 17.4% | 100 | 20 |
|  |  | Feb | 18.2% | 100 | 19 |
|  |  | Mar | 27.7% | 100 | 5 |
| FS Year 2028-2029 | Summer | Jun | 23.8% | 100 | 31 |
|  |  | Jul | 14.6% | 100 | 18 |
|  |  | Aug | 14.5% | 100 | 16 |
|  |  | Sep | 13.8% | 100 | 5 |
|  | Winter | Nov | 22.1% | 100 | 5 |
|  |  | Dec | 12.6% | 100 | 5 |
|  |  | Jan | 12.7% | 100 | 11 |
|  |  | Feb | 12.1% | 100 | 14 |
|  |  | Mar | 27.4% | 100 | 1 |

Table 1. Monthly Forward Showing Deficiencies

A Participant has the deficiencies shown in Table 1 for two consecutive Forward Showing Years.

In FS Year 1, the Max Monthly Summer Deficiency is 22 and the Max Monthly Winter Deficiency is 20. In FS Year 2, the Max Monthly Summer Deficiency is 31 and the Max Monthly Winter Deficiency is 14.

The estimated CONE Value used in this example is 91.81 $-kW Year.

See the tables below for the detailed Deficiency Charge Calculation example and how the Transition Provisions such as Excused Transition Deficits, Discounted Deficiency Charges and the No-JCAF Option are utilized.

| CONE | $ 91.81 | $-kW Year |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Forward Showing Year 2027-2028 |  |  |  |  |  |  |  |  |  |  |
| Total Program P50 Load - Summer 2027 | 5,000 | % Deficit | Summer 2027 Annual CONE Factor | Monthly Incremental | Total Program P50 Load - Winter 2027-2028 | 5,000 | % Deficit | Winter 2027-2028 Annual CONE Factor | Monthly Incremental |
| Summer Seasonal Deficit (sum of all monthly deficiencies for each deficit entity) | 75 | 1.50% | 150% | $ 15.30 | Winter Seasonal Deficit (sum of the highest deficit month for each deficit entity) | 77 | 1.54% | 150% | $ 15.30 |
|  |  | Summer 2027 PRM | ETD MW (P50*PRM*200%) | Allowable No-JCAF MWs |  |  | Winter 2027-2028 PRM | ETD MW (P50*PRM*200%) | Allowable No-JCAF MWs |
| June P50 | 100 | 17.7% | 35 | 4 | November P50 | 100 | 19.3% | 39 | 5 |
| July P50 | 100 | 10.5% | 21 | 3 | December P50 | 100 | 17.0% | 34 | 4 |
| August P50 | 100 | 11.2% | 22 | 3 | January P50 | 100 | 17.4% | 35 | 4 |
| September P50 | 100 | 18.6% | 37 | 5 | February P50 | 100 | 18.2% | 36 | 5 |
|  |  |  |  |  | March P50 | 100 | 25.7% | 51 | 6 |
|  |  | Non-Discounted MW | EDT Discounted MW (50%) | No-JCAF MW Claimed |  |  | Non-Discounted MW | EDT Discounted MW (50%) | No-JCAF MW Claimed |
| June Deficiency | 8 | 0 | 5 | 3 | November Deficiency | 10 | 0 | 6 | 4 |
| July Deficiency | 22 | 1 | 18 | 3 | December Deficiency | 10 | 0 | 6 | 4 |
| August Deficiency | 21 | 0 | 18 | 3 | January Deficiency | 20 | 0 | 16 | 4 |
| September Deficiency | 15 | 0 | 12 | 3 | February Deficiency | 19 | 0 | 15 | 4 |
|  |  |  |  |  | March Deficiency | 5 | 0 | 1 | 4 |
| Forward Showing Year 2028-2029 |  |  |  |  |  |  |  |  |  |  |
| Total Program P50 Load - Summer 2028 | 5,000 | % Deficit | Summer 2028 Annual CONE Factor | Monthly Incremental | Total Program P50 Load - Winter 2028-2029 | 5,000 | % Deficit | Winter 2028-2029 Annual CONE Factor | Monthly Incremental |
| Summer Seasonal Deficit (sum of the highest deficit month for each deficit entity) | 73 | 1.46% | 200% | $ 15.30 | Winter Seasonal Deficit (sum of the highest deficit month for each deficit entity) | 70 | 1.40% | 200% | $ 15.30 |
|  |  | Summer 2028 PRM | ETD MW (P50*PRM*100%) | Allowable No-JCAF MWs |  |  | Winter 2028-2029 PRM | ETD MW (P50*PRM*100%) | Allowable No-JCAF MWs |
| June P50 | 100 | 23.8% | 24 | 6 | November P50 | 100 | 22.1% | 22 | 6 |
| July P50 | 100 | 14.6% | 15 | 4 | December P50 | 100 | 12.6% | 13 | 3 |
| August P50 | 100 | 14.5% | 15 | 4 | January P50 | 100 | 12.7% | 13 | 3 |
| September P50 | 100 | 13.8% | 14 | 3 | February P50 | 100 | 12.1% | 12 | 3 |
|  |  |  |  |  | March P50 | 100 | 27.4% | 27 | 7 |
|  |  | Non-Discounted MW | EDT Discounted MW (75%) | No-JCAF MW Claimed |  |  | Non-Discounted MW | EDT Discounted MW (75%) | No-JCAF MW Claimed |
| June Deficiency | 31 | 7 | 21 | 3 | November Deficiency | 5 | 0 | 3 | 2 |
| July Deficiency | 18 | 3 | 12 | 3 | December Deficiency | 5 | 0 | 3 | 2 |
| August Deficiency | 16 | 1 | 12 | 3 | January Deficiency | 11 | 0 | 9 | 2 |
| September Deficiency | 5 | 0 | 2 | 3 | February Deficiency | 14 | 2 | 10 | 2 |
|  |  |  |  |  | March Deficiency | 1 | 0 | 0 | 2 |

|  |  |  | EDT Discounted MW Deficiency |  | Discounted $ for max deficit Summer 2027 | Incremental | Non-Discounted MW Deficiency | Non-Discounted $ for max deficit Summer 2027 | Incremental |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Forward Showing Year 2027-2028 75% Discount | Summer 2027 | Jun | 5 |  | $ 619,717.50 | $ 19,127.08 | 0 | $ 137,715.00 | $ - |
|  |  | Jul | 18 |  |  | $ - | 1 |  | $ - |
|  |  | Aug | 18 |  |  | $ 68,857.50 | 0 |  | $ - |
|  |  | Sep | 12 |  |  | $ 45,905.00 | 0 |  | $ - |
|  |  |  |  |  | Discounted $ for Winter 2027-2028 in excess of Summer 2027 |  |  | Non-Discounted $ for Winter 2027-2028 in excess of Summer 2027 |  |
|  | Winter 2027-2028 | Nov | 6 |  | $ - | $ 22,952.50 | 0 | $ - | $ - |
|  |  | Dec | 6 |  |  | $ 22,952.50 | 0 |  | $ - |
|  |  | Jan | 16 |  |  | $ 61,206.67 | 0 |  | $ - |
|  |  | Feb | 15 |  |  | $ 57,381.25 | 0 |  | $ - |
|  |  | Mar | 1 |  |  | $ 3,825.42 | 0 |  | $ - |
|  |  |  |  |  | Discounted Total | $ 921,925.42 |  | Non-Discounted Total | $ 137,715.00 |
|  |  |  |  |  |  |  |  | TOTAL | $ 1,059,640.42 |
|  |  |  | EDT Discounted MW Deficiency |  | Discounted $ for max deficit Summer 2028 | Incremental | Non-Discounted MW Deficiency | Non-Discounted $ for max deficit Summer 2028 | Incremental |
| Forward Showing Year 2028-2029 50% Discount | Summer 2028 | Jun | 21 |  | $ 1,928,010.00 | $ - | 7 | $ 41,285,340.00 | $ - |
|  |  | Jul | 12 |  |  | $ 91,810.00 | 3 |  | $ 45,905.00 |
|  |  | Aug | 12 |  |  | $ 91,810.00 | 1 |  | $ 15,301.67 |
|  |  | Sep | 2 |  |  | $ 15,301.67 | 0 |  | $ - |
|  |  |  |  |  | Discounted $ for Winter 2028-2029 in excess of Summer 2028 |  |  | Non-Discounted $ for Winter 2028-2029 in excess of Summer 2028 |  |
|  | Winter 2028-2029 | Nov | 3 |  | $ - | $ 22,952.50 | 0 | $ - | $ - |
|  |  | Dec | 3 |  |  | $ 22,952.50 | 0 |  | $ - |
|  |  | Jan | 9 |  |  | $ 68,857.50 | 0 |  | $ - |
|  |  | Feb | 10 |  |  | $ 76,508.33 | 2 |  | $ 30,603.33 |
|  |  | Mar | 0 |  |  | $ - | 0 |  | $ - |
|  |  |  |  |  | Discounted Total | $ 2,318,202.50 |  | Non-Discounted Total | $ 1,377,150.00 |
|  |  |  |  |  |  |  |  | TOTAL | $ 3,695,352.50 |