## Summer Instructions
Step # | Instruction | Associated Cell for Summer
Step 1 | Determine the monthly peak from each month in the Summer season for the last five seasons | C2:G5
Step 2 | Calculate the maximum peak load for each of the last 5 seasons | C6:G6
In this example
| 2018 – 3,423 MW | C6
| 2019 – 3,624 MW | D6
| 2020 – 3,286 MW | E6
| 2021 – 4,036 MW | F6
| 2022 – 3,819 MW | G6
Step 3 | Calculate the median of the peak loads from step 2 | J2
| In this example the median is 3,624 MW | J2
Step 4 | Calculate the Load Forecast Ratio | I2,I6
4.1 | For each of the last five Summer Seasons, calculate the average of the 5 peak loads for each month | H2:K5
In this Example
| June - 3,408 MW | H2
| July - 3,429 MW | H3
| August - 3,510 MW | H4
| September - 2,878 MW | H5
4.2 | Identify the maximum load value from step 4.1 | I2
| In this example the maximum load value is the August Average of 3,510 MW | I2
4.3 | The Load Forecast Ratio for Summer Month is the result of step 4.1 divided by the value found in step 4.2 | K2:K5
In this example
| June - 0.97 | K2
| July - 0.98 | K3
| August - 1.00 | K4
| September - 0.82 | K5
Step 5 | Multiply the Load Forecast Ratios of each Month from step 4.3 by the result of step 3. This is the Monthly P50 Peak Load Forecast | L2:L5
In this example
| June - 0.97 * 3,624 = 3,518 MW | L2
| July - 0.98 * 3,624 = 3,540 MW | L3
| August - 1.00 * 3,624 = 3,624 MW | L4
| September - 0.82 * 3,624 = 2,971 MW | L5

## Winter Instructions
Step # | Instruction | Associated Cell for Winter
Step 1 | Determine the monthly peak from each month in the Winter season for the last five seasons | D2:H6
Step 2 | Calculate the maximum peak load for each of the last 5 seasons | D7:H7
In this example
| 2017/2018 – 4,297 MW | D7
| 2018/2019 – 4,498 MW | E7
| 2019/2020 – 3,902 MW | F7
| 2020/2021 – 4,182 MW | G7
| 2021/2022 – 4,748 MW | H7
Step 3 | The Monthly P50 Peak Load Forecast for the Super Peak Months is the median of the peak loads from step 2 | I3:I5
| In this example for the Super Peak P50 is 4,297 MW | I3:I5
Step 4 | The monthly P50 Peak Load Forecasts for November and March are the median of the respect load values from step 1 | I2,I6
In this example
| November - 3,786 MW | I2
| March - 3,820 MW | I6

## Load Data
entity | month |  | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024
ABC | 1 | winter | 4101 | 4328 | 4226 | 3973 | 3833 | 4101 | 4326 | 3954 | 3833 | 3866 | 3833 | 4187 | 3973 | 4326
ABC | 2 | winter | 3649 | 3997 | 3799 | 4637 | 4182 | 3649 | 4317 | 4206 | 4498 | 3680 | 4182 | 4323 | 4206 | 3997
ABC | 3 | winter | 3615 | 3900 | 3761 | 3542 | 3697 | 3615 | 3855 | 3675 | 4132 | 3790 | 3820 | 3910 | 4132 | 3790
ABC | 4 |  | 2915 | 3345 | 3284 | 3061 | 3383 | 2915 | 3535 | 3421 | 3106 | 3279 | 3383 | 3222 | 3542 | 3383
ABC | 5 |  | 2809 | 3010 | 3121 | 2194 | 2697 | 2809 | 3080 | 2885 | 2809 | 2783 | 2697 | 3029 | 3121 | 3010
ABC | 6 | summer | 3138 | 2722 | 2878 | 2677 | 4036 | 3138 | 2679 | 3161 | 3138 | 3225 | 4036 | 3478 | 3225 | 4036
ABC | 7 | summer | 3163 | 2820 | 3147 | 3123 | 3470 | 3163 | 2795 | 3407 | 3163 | 3286 | 3470 | 3819 | 2795 | 3407
ABC | 8 | summer | 3266 | 3204 | 2973 | 3288 | 3729 | 3266 | 2917 | 3423 | 3624 | 3179 | 3729 | 3597 | 3288 | 3288
ABC | 9 | summer | 2706 | 2847 | 3028 | 3017 | 2935 | 2706 | 2959 | 2827 | 2827 | 2756 | 2935 | 3044 | 2959 | 3017
ABC | 10 |  | 3085 | 3452 | 3415 | 2993 | 3259 | 3085 | 3315 | 3040 | 3757 | 3001 | 3259 | 3072 | 3072 | 3259
ABC | 11 | winter | 3709 | 3812 | 3955 | 4048 | 4155 | 3709 | 3874 | 3644 | 3786 | 4155 | 3628 | 4114 | 4155 | 3644
ABC | 12 | winter | 4297 | 4172 | 4543 | 4298 | 4047 | 4317 | 4297 | 4132 | 3902 | 3924 | 4748 | 4807 | 4297 | 4047
ABC | season | winter |  | 4328 | 4226 | 4637 | 4298 | 4155 | 4326 | 4297 | 4498 | 3902 | 4182 | 4748 | 4807 | 4326
ABC | season | summer | 3266 | 3204 | 3147 | 3288 | 4036 | 3266 | 2959 | 3423 | 3624 | 3286 | 4036 | 3819 | 3288 | 4036

## S25 Forecast
Month | Season | 2019 | 2020 | 2021 | 2022 | 2023 | Monthly Average of Peak Loads | Maximum Monthly Average of Peak Loads | Median of Maximum of Peak Loads | Load Forecast Ratio | 2025 Monthly P50 Peak Load Forecast - Unadjusted | 2025 Monthly P50 Peak Load Forecast - Adjusted for Load Growth
June | Summer | 3138 | 3225 | 4036 | 3478 | 3225 | 3420.4 | 3483.4 | 3624 | 0.98191 | 3558.4571 | 3637.1738
July | Summer | 3163 | 3286 | 3470 | 3819 | 2795 | 3306.6 |  |  | 0.94924 | 3440.0638 | 3516.1615
August | Summer | 3624 | 3179 | 3729 | 3597 | 3288 | 3483.4 |  |  | 1 | 3624 | 3704.1665
September | Summer | 2827 | 2756 | 2935 | 3044 | 2959 | 2904.2 |  |  | 0.83373 | 3021.4218 | 3088.2587
| Maximum | 3624 | 3286 | 4036 | 3819 | 3288

## W25-26 Forecast
| Month | Season | 2019/2020 | 2020/2021 | 2021/2022 | 2022/2023 | 2023/2024 | 2025/2026 Monthly P50 Peak Load Forecast - Unadjusted | 2025/2026 Monthly P50 Peak Load Forecast - Adjusted for Load Growth
| November | Winter | 3786 | 4155 | 3628 | 4114 | 4155 | 4114 | 4205.0058
Seasonal Peak | December | Winter | 3902 | 3924 | 4748 | 4807 | 4297 | 4326 | 4421.6954
| January | Winter | 3866 | 3833 | 4187 | 3973 | 4326 | 4326 | 4421.6954
| February | Winter | 3680 | 4182 | 4323 | 4206 | 3997 | 4326 | 4421.6954
| March | Winter | 3790 | 3820 | 3910 | 4132 | 3790 | 3820 | 3904.5022
|  | Maximum | 3902 | 4182 | 4748 | 4807 | 4326