## SECMAR18.XLS
2023-24
PACIFIC NORTHWEST COORDINATION AGREEMENT
POTENTIAL SECONDARY MARKET
ENERGY - Avg. MW | [5 empty] | WHEN THE COORDINATED SYSTEM IS AT UPPER RULE CURVE | [9 empty] | done this year:
| ANNUAL | 2023 | [5 empty] | 2024
| AVG. | AUG1 | AUG2 | SEP | OCT | NOV | DEC | JAN | FEB | MAR | APR1 | APR2 | MAY | JUN | JUL
SECONDARY MARKET | 14233.8961 | 15420.4258 | 15300.9483 | 15077.4976 | 13073.8511 | 14234.3589 | 15070.1167 | 15330.9104 | 14721.3256 | 14325.1703 | 13253.6576 | 13200.8732 | 12367.9594 | 13337.1321 | 14682.406
FELCC | 16414.3495 | 19203 | 17572 | 14830 | 15019 | 16585 | 18710 | 17544 | 15672 | 15777 | 14260 | 13260 | 13219 | 18755 | 18740 | x
FIRM ENERGY LOAD | 18508.4718 | 18092.9 | 18143.2 | 16716.7 | 16773.3 | 19041.1 | 20981.8 | 20823.3 | 19847.5 | 18513.7 | 17501.9 | 17938.1 | 17240.3 | 17847 | 18478.1 | x
SURPLUS ABOVE FIRM LOAD | -2094.1223 | 1110.1 | -571.2 | -1886.7 | -1754.3 | -2456.1 | -2271.8 | -3279.3 | -4175.5 | -2736.7 | -3241.9 | -4678.1 | -4021.3 | 908 | 261.9
ADJUSTED SECONDARY MARKET | 16328.0184 | 14310.3258 | 15872.1483 | 16964.1976 | 14828.1511 | 16690.4589 | 17341.9167 | 18610.2104 | 18896.8256 | 17061.8703 | 16495.5576 | 17878.9732 | 16389.2594 | 12429.1321 | 14420.506
2023-24
PACIFIC NORTHWEST COORDINATION AGREEMENT
POTENTIAL SECONDARY MARKET
ENERGY - Avg. MW |  | 2023 NOV: WHEN THE COORDINATED SYSTEM IS AT UPPER RULE CURVE
| ANNUAL | 2023 AUG1: 2023; 2024 JAN: 2024
| AVG. | AUG1 | AUG2 | SEP | OCT | NOV | DEC | JAN | FEB | MAR | APR1 | APR2 | MAY | JUN | JUL
SOUTHWEST MARKET
AC Capacity |  | 3928 | 3928 | 4070 | 4096 | 3835 | 4006 | 4083 | 3917 | 3871 | 4239 | 4239 | 3959 | 3959 | 3959
DC Capacity |  | 2549 | 2549 | 2339 | 1134 | 2272 | 2544 | 2530 | 2520 | 2439 | 2685 | 2685 | 2486 | 2486 | 2486
Total Line Limit | 6366 | 6477 | 6477 | 6409 | 5230 | 6107 | 6550 | 6613 | 6437 | 6310 | 6924 | 6924 | 6445 | 6445 | 6445
Less Loop Flow | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Less Maintenance (f1) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | ---- | ---- | ---- | ---- | ---- | ---- | ---- | ---- | ---- | ---- | ---- | ---- | ---- | ----
Net Line Limit |  | ---- | ---- | ---- | ---- | ---- | ---- | ---- | ---- | ---- | ---- | ---- | ---- | ---- | ----
Capacity Factor |  | ---- | ---- | ---- | ---- | ---- | ---- | ---- | ---- | ---- | ---- | ---- | ---- | ---- | ----
Total Southwest Market | 6366 | 6477 | 6477 | 6409 | 5230 | 6107 | 6550 | 6613 | 6437 | 6310 | 6924 | 6924 | 6445 | 6445 | 6445
Less Firm Energy (f2)
BPA | 464.2585 | 514.234 | 595.542 | 454.3 | 454.3 | 454.3 | 454.3 | 454.3 | 454.3 | 454.3 | 454.3 | 454.3 | 454.3 | 454.3 | 471.9025 | x
PAC | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | x
PGE | 32.0216 | 35.5201 | 35.5201 | 31.1708 | 26.2634 | 25.2424 | 25.0346 | 17.9606 | 28.0503 | 27.9652 | 40.8905 | 40.8905 | 37.2888 | 43.3884 | 45.4841 | x
PUGET | 837.5083 | 588.9 | 588.9 | 597 | 844.8 | 1062 | 1114.7 | 941.3 | 936.8 | 849.3 | 842.9 | 842.9 | 825.6 | 766.9 | 679.9 | x
GCPD | 50.4808 | 51.66 | 51.66 | 52.54 | 51.69 | 49.18 | 47.37 | 48.14 | 47.62 | 49.89 | 51.53 | 51.53 | 52.43 | 52.28 | 51.44 | x
DOPD | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | x
|  | ---- | ---- | ---- | ---- | ---- | ---- | ---- | ---- | ---- | ---- | ---- | ---- | ---- | ----
Total Firm Energy | 1384.2693 | 1190.3141 | 1271.6221 | 1135.0108 | 1377.0534 | 1590.7224 | 1641.4046 | 1461.7006 | 1466.7703 | 1381.4552 | 1389.6205 | 1389.6205 | 1369.6188 | 1316.8684 | 1248.7266
NET SOUTHWEST MARKET | 4981.7307 | 5286.6859 | 5205.3779 | 5273.9892 | 3852.9466 | 4516.2776 | 4908.5954 | 5151.2994 | 4970.2297 | 4928.5448 | 5534.3795 | 5534.3795 | 5075.3812 | 5128.1316 | 5196.2734
(f1) - DC Line S.I.R. (Scheduled Inspection and Repair).
(f2) - From data submitted in accordance with Subsection 6(c) of the
Coordination Agreement.
2023-24
PACIFIC NORTHWEST COORDINATION AGREEMENT
POTENTIAL SECONDARY MARKET
ENERGY - Avg. MW |  | 2023 NOV: WHEN THE COORDINATED SYSTEM IS AT UPPER RULE CURVE
| ANNUAL | 2023 AUG1: 2023; 2024 JAN: 2024
| AVG. | AUG1 | AUG2 | SEP | OCT | NOV | DEC | JAN | FEB | MAR | APR1 | APR2 | MAY | JUN | JUL
EASTERN MARKET
Total Line Limit to Idaho
Idaho (f1) |  | 1200 | 1200 | 1200 | 1200 | 1200 | 1200 | 1200 | 1200 | 1200 | 1200 | 1200 | 1200 | 1200 | 1200
Capacity Factor |  | 0.85 | 0.85 | 0.85 | 0.85 | 0.9 | 0.95 | 0.95 | 0.95 | 0.95 | 0.95 | 0.95 | 0.95 | 0.95 | 0.9
Net Line Limit to Idaho | 1100 | 1020 | 1020 | 1020 | 1020 | 1080 | 1140 | 1140 | 1140 | 1140 | 1140 | 1140 | 1140 | 1140 | 1080
Utah (f2) |  | 337 | 337 | 337 | 337 | 337 | 337 | 337 | 337 | 337 | 337 | 337 | 337 | 337 | 337
Capacity Factor |  | 0.95 | 0.95 | 0.95 | 0.95 | 0.95 | 0.95 | 0.95 | 0.95 | 0.95 | 0.95 | 0.95 | 0.95 | 0.95 | 0.95
Net Line Limit to Utah | 320.15 | 320.15 | 320.15 | 320.15 | 320.15 | 320.15 | 320.15 | 320.15 | 320.15 | 320.15 | 320.15 | 320.15 | 320.15 | 320.15 | 320.15
Total Eastern Market | 1420.15 | 1340.15 | 1340.15 | 1340.15 | 1340.15 | 1400.15 | 1460.15 | 1460.15 | 1460.15 | 1460.15 | 1460.15 | 1460.15 | 1460.15 | 1460.15 | 1400.15
NON CORDINATED SYSTEM -
BPA | 527.8611 | 609.1794 | 613.9061 | 502.7847 | 548.2014 | 547.5551 | 547.1263 | 507.9353 | 507.9356 | 507.936 | 507.9346 | 507.9346 | 507.9355 | 507.9346 | 529.4353
PacifiCorp | 73.3647 | 73.3495 | 73.3495 | 66.475 | 66.9973 | 69.5236 | 74.3024 | 82.3481 | 71.8994 | 79.3642 | 64.6458 | 64.6458 | 88.5228 | 71.8958 | 71.0524
Portland General Electric | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Puget Sound Energy | 489.65 | 231.3 | 231.3 | 234.9 | 494.1 | 578.6 | 680.8 | 696 | 610.5 | 520.2 | 506.3 | 506.3 | 499.6 | 462.5 | 361
Tacoma Power | 586.5873 | 460.4441 | 460.4441 | 518.9813 | 508.5502 | 607.7622 | 698.005 | 699.4254 | 720.3308 | 601.5492 | 510.3394 | 510.3394 | 603.8371 | 599.9175 | 509.9052
Other sources | 170.5039 | 217.146 | 174.2505 | 122.8926 | 154.4947 | 203.036 | 202.6365 | 184.7329 | 136.1703 | 133.3225 | 136.9926 | 84.2081 | 122.3403 | 279.9457 | 200.8686
TOTAL | 1847.967 | 1591.419 | 1553.2501 | 1446.0336 | 1772.3436 | 2006.477 | 2202.8703 | 2170.4418 | 2046.8362 | 1842.3719 | 1726.2124 | 1673.428 | 1822.2357 | 1922.1936 | 1672.2616
TOTAL EXPORT MARKET | 8249.8478 | 8218.2549 | 8098.7781 | 8060.1728 | 6965.4402 | 7922.9046 | 8571.6156 | 8781.8912 | 8477.2159 | 8231.0667 | 8720.742 | 8667.9575 | 8357.7669 | 8510.4752 | 8268.685
(f1) - Estimated transfer (Westside) from Northwest to Idaho. Assumes the Jim Bridger plant is reduced.
(f2) - Net transfer limit over the Amps and Jefferson lines.
2023-24
PACIFIC NORTHWEST COORDINATION AGREEMENT
POTENTIAL SECONDARY MARKET
ENERGY - Avg. MW |  | 2023 NOV: WHEN THE COORDINATED SYSTEM IS AT UPPER RULE CURVE
| ANNUAL | 2023 AUG1: 2023; 2024 JAN: 2024
| AVG. | AUG1 | AUG2 | SEP | OCT | NOV | DEC | JAN | FEB | MAR | APR1 | APR2 | MAY | JUN | JUL
TOTAL EXPORT MARKET | 8249.8478 | 8218.2549 | 8098.7781 | 8060.1728 | 6965.4402 | 7922.9046 | 8571.6156 | 8781.8912 | 8477.2159 | 8231.0667 | 8720.742 | 8667.9575 | 8357.7669 | 8510.4752 | 8268.685
POTENTIAL DSI LOAD (f1) | 18.2514 | 87.0004 | 86.9998 | 11.9999 | 12.0001 | 12.0001 | 12.0003 | 12.0001 | 11.9997 | 12.0161 | 12 | 12 | 12.0004 | 12.0003 | 11.9997
DISPLACEABLE THERMAL (f2)
Columbia Gen. Station | 1115.52 | 1115.52 | 1115.52 | 1115.52 | 1115.52 | 1115.52 | 1115.52 | 1115.52 | 1115.52 | 1115.52 | 1115.52 | 1115.52 | 1115.52 | 1115.52 | 1115.52 | x
Misc. Thermal | 4146.4686 | 4763.2128 | 4763.2128 | 4796.9236 | 4447.8715 | 4532.2814 | 4748.4658 | 4839.5313 | 4545.0383 | 4315.2952 | 3079.7128 | 3079.7128 | 2359.6822 | 3031.0359 | 4298.5722 | x
| ---- | ---- | ---- | ---- | ---- | ---- | ---- | ---- | ---- | ---- | ---- | ---- | ---- | ---- | ----
Total Displaceable Thermal | 5261.9886 | 5878.7328 | 5878.7328 | 5912.4436 | 5563.3915 | 5647.8014 | 5863.9858 | 5955.0513 | 5660.5583 | 5430.8152 | 4195.2328 | 4195.2328 | 3475.2022 | 4146.5559 | 5414.0922
REPLACEABLE IMPORTS (f2)
PAC - Wyoming | 703.8084 | 1236.4377 | 1236.4377 | 1092.8812 | 533.0193 | 651.6529 | 622.5149 | 581.9679 | 571.5517 | 651.2723 | 325.6829 | 325.6829 | 522.9899 | 668.1008 | 987.6291 | x
| ---- | ---- | ---- | ---- | ---- | ---- | ---- | ---- | ---- | ---- | ---- | ---- | ---- | ---- | ----
Total Replaceable Imports | 703.8084 | 1236.4377 | 1236.4377 | 1092.8812 | 533.0193 | 651.6529 | 622.5149 | 581.9679 | 571.5517 | 651.2723 | 325.6829 | 325.6829 | 522.9899 | 668.1008 | 987.6291
TOTAL REPLACEABLE THERMAL | 5965.7969 | 7115.1705 | 7115.1705 | 7005.3248 | 6096.4108 | 6299.4542 | 6486.5007 | 6537.0191 | 6232.11 | 6082.0875 | 4520.9157 | 4520.9157 | 3998.192 | 4814.6567 | 6401.7213
TOTAL SECONDARY MARKET | 14233.8961 | 15420.4258 | 15300.9483 | 15077.4976 | 13073.8511 | 14234.3589 | 15070.1167 | 15330.9104 | 14721.3256 | 14325.1703 | 13253.6576 | 13200.8732 | 12367.9594 | 13337.1321 | 14682.406
(f1) - DSI total plant capacity less DSI firm load.
(f2) - Data based on the 2023-24 data submittals.
Note on A13: From the Final Reg or LDRS if we do one
Note on A16: From the Operating Program "Estimated Firm Energy & Interruptible Loads"
Note on A33: Diane: These values don't change much, so unless there are line changes, they can stay the same. Ask Eric King/BPA for updates every couple of years, maybe. Last updated 99-00
Note on A36: DIANE: Actual values & averages were received for 99-00, so calculations in lines 36-41 are not used.
Note on A41: This data needed from BPA
Note on A45: This data from the Planning data submitted by the parties. Usually in its neatest format in the Final Operating Data,
Note on A70: The line limit to Idaho is still 1200 w->e, per Steve Jung at the ICP. 1-23-96 CF
Note on A74: The line limit to Utah via MPC is still 337, and the capacity factor is still .95 per Bill Abt at the ICP. 1-23-96 CF
Note on A81: Diane Gerspach: Data is from the WECC Plant data and Plant data additions spreadsheets. These values are peak only. Values are divided unto Summer [Jun-Sep] and Winter [Dec-Feb]. I used summer values for the rest of the months.
Note on A103: This data was supplied by Phil Mesa = the DSI's total plant capacity - the DSI firm load.
Note on A106: Diane Gerspach: from BPA submittal
Note on A112: Diane Gerspach: from Pacificorp submittal

## Misc Thermal
2023-24
PACIFIC NORTHWEST COORDINATION AGREEMENT
POTENTIAL SECONDARY MARKET
ENERGY - Avg. MW | [5 empty] | WHEN THE COORDINATED SYSTEM IS AT UPPER RULE CURVE
| ANNUAL | 2023 | [5 empty] | 2024
| AVG. | AUG1 | AUG2 | SEP | OCT | NOV | DEC | JAN | FEB | MAR | APR1 | APR2 | MAY | JUN | JUL
DISPLACEABLE SMALL THERMAL
PUGET - aggregate only |  | 1320.9 | 1320.9 | 1305.1 | 1155.9 | 995.3 | 1107.3 | 1190.8 | 1073.9 | 1149.2 | 522.6 | 522.6 | 299.4 | 375.6 | 901.8 | 20-21 aggregate only
AVISTA - aggregate only |  | 910.2677 | 910.2677 | 925.8542 | 958.7125 | 1004.9474 | 1038.9048 | 1041.119 | 1014.5155 | 994.9492 | 822.8324 | 822.8324 | 478.6252 | 651.5381 | 899.2154
20-21 aggregate only
PacifiCorp - aggregate only |  | 811.3226 | 811.3226 | 823.4958 | 847.1922 | 865.2083 | 867.8925 | 870.7312 | 828.7812 | 812.2473 | 787.0681 | 787.0681 | 592.4328 | 642.1208 | 811.0228
PORTLAND GENERAL |  | 1720.7225 | 1720.7225 | 1742.4735 | 1486.0668 | 1666.8257 | 1734.3686 | 1736.8811 | 1627.8416 | 1358.8987 | 947.2124 | 947.2124 | 989.2242 | 1361.777 | 1686.5339 | 20-21 aggregate only
Total Misc Thermal |  | 4763.2128 | 4763.2128 | 4796.9236 | 4447.8715 | 4532.2814 | 4748.4658 | 4839.5313 | 4545.0383 | 4315.2952 | 3079.7128 | 3079.7128 | 2359.6822 | 3031.0359 | 4298.5722

## Therm Maintenance
|  |  |  | 2023 | [5 empty] | 2024
|  |  |  | AUG1 | AUG2 | SEP | OCT | NOV | DEC | JAN | FEB | MAR | APR1 | APR2 | MAY | JUN | JUL
|  | Total Plant | Adjust | 15 | 16 | 30 | 31 | 30 | 31 | 31 | 28 | 31 | 15 | 15 | 31 | 30 | 31
MPC Corette | 6/3-6/19 | 139 | 1
Colstrip 1 | 4/27-5/27 | 307 | 0.5
Colstrip 2 | none | 307 | 0.5
Colstrip 3 | 6/1-7/1 | 740 | 0.5
Colstrip 4 | none | 740 | 0.5
Capability adjusted for maintenance
Colstrip 1 |  |  |  | 153.5 | 153.5 | 153.5 | 153.5 | 153.5 | 153.5 | 153.5 | 153.5 | 153.5 | 153.5 | 153.5 | 153.5 | 153.5 | 153.5
Colstrip 2 |  |  |  | 153.5 | 153.5 | 153.5 | 153.5 | 153.5 | 153.5 | 153.5 | 153.5 | 153.5 | 153.5 | 153.5 | 153.5 | 153.5 | 153.5
Colstrip 3 |  |  |  | 370 | 370 | 370 | 370 | 370 | 370 | 370 | 370 | 370 | 370 | 370 | 370 | 370 | 370
Colstrip 4 |  |  |  | 370 | 370 | 370 | 370 | 370 | 370 | 370 | 370 | 370 | 370 | 370 | 370 | 370 | 370
DISPLACEABLE TOTAL |  |  |  | 1047 | 1047 | 1047 | 1047 | 1047 | 1047 | 1047 | 1047 | 1047 | 1047 | 1047 | 1047 | 1047 | 1047
NON-COORD
Colstrip 1 |  |  |  | 153.5 | 153.5 | 153.5 | 153.5 | 153.5 | 153.5 | 153.5 | 153.5 | 153.5 | 153.5 | 153.5 | 153.5 | 153.5 | 153.5
Colstrip 2 |  |  |  | 153.5 | 153.5 | 153.5 | 153.5 | 153.5 | 153.5 | 153.5 | 153.5 | 153.5 | 153.5 | 153.5 | 153.5 | 153.5 | 153.5
Colstrip 3 |  |  |  | 370 | 370 | 370 | 370 | 370 | 370 | 370 | 370 | 370 | 370 | 370 | 370 | 370 | 370
Colstrip 4 |  |  |  | 370 | 370 | 370 | 370 | 370 | 370 | 370 | 370 | 370 | 370 | 370 | 370 | 370 | 370
NON-COORD TOTAL |  |  |  | 1047 | 1047 | 1047 | 1047 | 1047 | 1047 | 1047 | 1047 | 1047 | 1047 | 1047 | 1047 | 1047 | 1047
|  |  |  | 2023 | [5 empty] | 2024
|  |  |  | AUG1 | AUG2 | SEP | OCT | NOV | DEC | JAN | FEB | MAR | APR1 | APR2 | MAY | JUN | JUL
COLSTRIP 3 & 4 |  | 1480
MPC | 0.3 | 444 |  | 190 | 190 | 190 | 190 | 190 | 190 | 190 | 190 | 190 | 190 | 190 | 190 | 190 | 190
Portland | 0.2 | 296 |  | 251 | 251 | 251 | 251 | 251 | 251 | 251 | 251 | 251 | 251 | 251 | 251 | 251 | 251
Avista | 0.15 | 222 |  | 222 | 222 | 222 | 222 | 222 | 222 | 222 | 222 | 222 | 222 | 222 | 222 | 222 | 222
Pacific | 0.1 | 148 |  | 144 | 144 | 144 | 144 | 144 | 144 | 144 | 144 | 144 | 144 | 144 | 144 | 144 | 140
Puget | 0.25 | 370 |  | 350 | 350 | 350 | 350 | 350 | 350 | 350 | 350 | 350 | 350 | 350 | 350 | 350 | 350
TOTAL |  |  |  | 1157 | 1157 | 1157 | 1157 | 1157 | 1157 | 1157 | 1157 | 1157 | 1157 | 1157 | 1157 | 1157 | 1153
TOTAL DISPLACEABLE |  |  |  | 716 | 716 | 716 | 716 | 716 | 716 | 716 | 716 | 716 | 716 | 716 | 716 | 716 | 712
colstrip1&2 |  |  |  | 307 | 307 | 307 | 307 | 307 | 307 | 307 | 307 | 307 | 307 | 307 | 307 | 307 | 307
colstrip3&4 |  |  |  | 740 | 740 | 740 | 740 | 740 | 740 | 740 | 740 | 740 | 740 | 740 | 740 | 740 | 740
|  |  |  | 1023 | 1023 | 1023 | 1023 | 1023 | 1023 | 1023 | 1023 | 1023 | 1023 | 1023 | 1023 | 1023 | 1019
Note on C6: puget's share = 50%
Note on C7: Puget's share = 50%
Note on C8: Puget, Avista, Pacific shares = 50%
Note on C9: Puget, Avista, Pacific shares = 50%
Note on A30: Diane : Avg. MW is an estimate.
Note on A31: Diane : Taken from 98-99